## my_diary_notes
Id | User Id | Tags | Note Date | Content | Created At | Updated At
1dbe6b2e-e2f0-480f-9459-b4ce4347770a | 95dfd320-0767-4a1e-81c2-61f67f472fe2 |  | 2025-10-29 | Attenteded SBI Baruipur Bazar fault, LC Id- 1000122714.Local mac was not being received. Checked the optical fibers and found them OK. There was an optical power loss in the media. The power loss was due to a fault in the HUAWEI port — the Tx power at the port itself was -17 dBm. Changing the SFP did not resolve the issue. Configuration was done in Tejas and the details were posted in the CPAN group for shifting to another CPAN port. After the CPAN configuration was completed by the CPAN team, MAC was received from both ends, and the media appeared to be OK. However, ping was still not successful from their router. The media converter and power adaptor at SBI Baruipur Bazar Branch were also replaced with a new one. The vendor was approached to check the issue at their local end. | 2025-10-21 | 2025-10-21
1dc875bb-f2fa-4706-8207-e3e2d68f59a8 | 95dfd320-0767-4a1e-81c2-61f67f472fe2 |  | 2025-10-30 | SBI Baruipur Bazar fault, LC Id- 1000122714, attended by BSNL team and SBI vendor(8017384766) also. Got mac from both side. Ping from directly connected laptop was successful but through router, ping not successful. Suspected Tejas equipment card issue, so directly connected through CPAN and router ping also successful after that. Circuit restored. | 2025-10-23 | 2025-10-23
7a441cdc-cf56-465a-8eee-e15f7c569db0 | 95dfd320-0767-4a1e-81c2-61f67f472fe2 |  | 2025-11-25 | LC ID- 1000123043 , SBI Subhasgram fault docket assigned. Found OFC cut at a distance of 3 km from Kamalgazi.There are 5 cable cuts at that location, 2 48F and 3 24F OFCs.SBI ckt restored diverting it. LMG shifted from MNGPAN(5.7) to GPON OLT Port-1. For diversion of BTS:- Sonarpur(VLAN-1748/1948), Sonarpur Teghoria(1006/1506), Narendrapur Krishna(1741/1941), Narendrapur II(1740/1940), Hindustan More(1489/1889), Sonarpur Kurigachi(1737/1937), Mandalpara(1071/1571), Boral II(1768/1968), Baruipur Kalyanpur(1792/1992), Barendrapara(1102/1602) written on CPAN group. Harinavi team alongwith SLA vendor attended the ofc cut site to restore that. | 2025-11-20 | 2025-11-20
7c6d3149-6aac-403e-9525-362c8c61cfab | 95dfd320-0767-4a1e-81c2-61f67f472fe2 |  | 2025-12-02 | <p>Boral RLU was completely out of order <strong>due to a power plant failure</strong> since yesterday (<strong>01-01-2025, 12:39</strong>). It was <strong>restored</strong> today at around 4:00 PM after <strong>replacing the existing unit with a spare power plant</strong> taken from another RLU.</p> | 2025-12-01 | 2025-12-01
129a0172-ff18-4a9c-b379-373b934b0e6f | 714844d8-f933-4ef6-a29d-0559e5d03f38 | [] | 2025-12-13 | <p>Today visited Mahinagar_Gobindapur RSU_Gobindapur BTS for 4G MAAN RING execution job.</p><p>The ring is made with Harinavi-Baruipur 24F OFC having termination at Gobindapur From F-13 to F-24</p><p>4G MAAN RING details as follows:</p><table class="border-collapse table-auto min-w-full my-4 border border-gray-300 dark:border-gray-600" style="min-width: 197px;"><colgroup><col style="min-width: 25px;"><col style="width: 122px;"><col style="min-width: 25px;"><col style="min-width: 25px;"></colgroup><tbody><tr><th class="border border-gray-300 dark:border-gray-600 bg-gray-100 dark:bg-gray-800 !px-3 !py-2 font-semibold text-left" colspan="1" rowspan="1"><p><strong>END A</strong></p></th><th class="border border-gray-300 dark:border-gray-600 bg-gray-100 dark:bg-gray-800 !px-3 !py-2 font-semibold text-left" colspan="1" rowspan="1" colwidth="122"><p><strong>Fiber_Pair</strong></p></th><th class="border border-gray-300 dark:border-gray-600 bg-gray-100 dark:bg-gray-800 !px-3 !py-2 font-semibold text-left" colspan="1" rowspan="1"><p><strong>END B</strong></p></th><th class="border border-gray-300 dark:border-gray-600 bg-gray-100 dark:bg-gray-800 !px-3 !py-2 font-semibold text-left" colspan="1" rowspan="1"><p><strong>Fibre_Pair</strong></p></th></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Harinavi MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p></p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Kodalia 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p></p></td></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Kodalia 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p></p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Mahinagar 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p></p></td></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Mahinagar 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p>F-5 &amp; F-8</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur RSU</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>F-21 &amp;F-24</p></td></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur RSU</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p>F-21 &amp; F-24</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>F-9 &amp; F-10</p></td></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur 4G BTS MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p>F-9 &amp; F-10</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur RSU</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>F-11 &amp;F-12</p></td></tr><tr><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Gobindapur RSU</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1" colwidth="122"><p>F-11 &amp;F-12</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>Harinavi MAAN</p></td><td class="border border-gray-300 dark:border-gray-600 !px-3 !py-2 align-top relative" colspan="1" rowspan="1"><p>F-16 &amp; F-20</p></td></tr></tbody></table><p></p> | 2025-12-13 12:32 | 2025-12-13 12:32
fd087ba3-c402-4ea1-a356-e1c2932d9dea | 714844d8-f933-4ef6-a29d-0559e5d03f38 | ["pnb","kheadah","leased","lc","1000560320","efile","ctdtrans"] | 2025-12-15 | <ol><li><p>Noticed ticked assigned in prabal plus for LC ID-<a target="_blank" rel="noopener noreferrer nofollow" class="text-blue-500 hover:underline cursor-pointer ui teal image label large" href="http://www.lcprabal.bsnl.co.in/PrabalPlus/protected/pages/link/link_details.php?lcid=1000560320&amp;upd_sts=0"><strong>1000560320, PNB KHEYADAH.</strong></a> Enquired through BBNL team and found GP up. So,<strong> fault is in between GP and Bank premises</strong>. <strong>Tried several times to book a cab</strong> but everyone cancelled and <strong>not ready to go to that remote site</strong>. At last <strong>attended site through SLA Vendor's vehicle</strong>. Found Rat bite issue there on patch chord. Ckt. restored after replacement of the Patch cord. Customer is requested to look into the matter as we are facing frequent rat bite issue in the premises to our pigtail/patch chord.</p></li><li><p>E-File received from regarding Administrative Approval for preparation of PE/WBS for OFC laying through O/H &amp; Lead/In for 1no. of site for Sr DCM, Sealdah Division, Eastern Railway at Station Manager, Sonarpur Railway Station, having File No: File No.:KOLTD-21/12(14)/12/2021-TI SOUTH TX KOL Comp. No.:42788 42788. Reply submitted and returned back the file.</p></li><li><p>Some data updation work for CPAN A1s done in ctdtrans portal.</p></li><li><p>Report regarding AC to DC converter for this unit is sent to DE/TM/South-II.</p></li></ol><p></p> | 2025-12-16 09:37 | 2025-12-16 09:37
f0a0a500-6162-4362-9748-2c41e5e6fc2b | 714844d8-f933-4ef6-a29d-0559e5d03f38 | ["optical power","ring status","leased","1000184559","ongc"] | 2025-12-18 | <ol><li><p>Checked CPAN EMS, Tejas systems, CMTS CTD website, Prabal Plus, and Transnet for any faults. No transmission faults were found, and no tickets have been assigned till now.</p></li><li><p>PP Ticket ID : PCKO251200088 assigned for high packet drop in ONGC Sonarpur(LC ID: <a target="_blank" rel="noopener noreferrer nofollow" class="text-blue-500 hover:underline cursor-pointer ui teal image label large" href="http://www.lcprabal.bsnl.co.in/PrabalPlus/protected/pages/link/link_details.php?lcid=1000184559&amp;upd_sts=0"><strong>1000184559</strong></a> ) . Site attended and found Tejas Switch is malfunctioning. Requested CPAN NOC to shift and configure 1000184559_ONGC-SONARPUR_4050 from AP NAGAR B1(138.198), port-3.5 to port-4.4 (FE mode). Shifted ONGC Lead-in 24F OFC(F-5 &amp; F-6) from switch to CPAN port.</p></li><li><p>Shifted patchcords/pigtails i to make space for FDMS for Rehab cable(Sonarpur-Awantipur). <strong>In this process DL between Sonarpur(138.227/1.5) - FIEM(138.228/2.5) and Sonarpur(138.199/4.1) - Kamalgazi(29.196/5.1) failed for few minutes.</strong></p></li></ol><p></p> | 2025-12-18 05:18 | 2025-12-18 05:18
15ed7374-d739-4f90-989c-1bcc36336c17 | 714844d8-f933-4ef6-a29d-0559e5d03f38 | [] | 2025-12-16 | <ol><li><p>Uploaded photos and videos at 9 places(4 photos and 1 video at each place) for 1950m route of JC near Subhasgram Bank plot to JC at Rail crossing near Natunpally on Transnet.</p></li><li><p>Created 3 planned routes on transnet: a) M TXC KD HARINAVI SNP GHASIARA BTS-BJC KD HNV AERIAL JC NEAR GHASIARA BIDYAPITH-01 , 258498 , 1650m b) M TXC KD HARINAVI BRP RLY XING BTS-BJC KD HNV PADMAPUKUR-01, 258499, 900m and c) M TXC KD HARINAVI MISSION PCM-BJC KD HNV KRISHNA APARTMENT-01 , 258500, 1400m.</p></li><li><p>Created kml file for Sonarpur Ghasiara BTS to JC near Sonarpur Bidyapith.</p></li><li><p>Created kml file for Baruipur Rail crossing to JC near Padmapukur.</p></li><li><p>Assisted TI unit for survey work for Sonarpur, Milan Pally IB leased ckt.</p></li></ol><p></p> | 2025-12-16 10:59 | 2025-12-16 10:59
ddf2ac57-dbd5-4d40-b7ef-8de6a9bd3125 | 714844d8-f933-4ef6-a29d-0559e5d03f38 | ["transnet"] | 2025-12-17 | <ol><li><p>Created planned route for Sonarpur Ghasiara BTS to JC near Sonarpur Bidyapith on Transnet and uploaded its corresponding kml.</p></li><li><p>Created planned route for Baruipur Rail crossing to JC near Padmapukur on Transnet and uploaded its corresponding kml.</p></li><li><p>Created planned route for Mission Telephone Exchange to JC near Narendrapur Krishna on transnet and uploaded its corresponding kml.</p></li><li><p>Uploaded photos and videos at 7 places(4 photos and 1 video at each place) for 1650m route of Sonarpur Ghasiara BTS to JC near Sonarpur Bidyapith on Transnet.</p></li></ol><p></p> | 2025-12-17 07:20 | 2025-12-17 07:20
55cc3c22-2ce8-4c0d-8998-ee6b455d8a0b | 96b1a722-dd4e-40aa-ae24-cbb92885ec44 | ["meeting","tbz"] | 2025-12-19 | <p>Attended meeting held today under chairmanship of PGM TX to monitor the progress of QOS of TX Equipment and OF Network.</p><p>Uploaded photos and videos at 8 places(4 photos and 1 video at each place) for 1400m route of JC near Narendrapur mission Exchange to JC at krishna Appartment BTS site on Transnet.</p><p></p> | 2025-12-19 15:39 | 2025-12-19 15:39
5d3fbd88-5b0d-49a1-a76d-f7a67816bb70 | 714844d8-f933-4ef6-a29d-0559e5d03f38 | [] | 2025-12-20 | <ol><li><p>Checked CPAN EMS, Tejas systems, CMTS CTD website, Prabal Plus, and Transnet for any faults. No transmission faults were found, and no tickets have been assigned till now.</p></li></ol><p></p> | 2025-12-20 05:35 | 2025-12-20 05:35